## meteoview_static_file
SENSOR_SYMBOL | 00003257220001 | 00003257220002 | 00003257220006 | 00003257220007 | 00003257220008 | 00003257220009 | 00003257220011 | 00003257220013 | 00003257220014 | 00003257220016 | 00003257220018 | 00003257220019 | 00003257220010 | 00003556430001 | 00003556430002 | 00003556430006 | 00003556430007 | 00003556430008 | 00003556430009 | 00003556430011 | 00003556430013 | 00003556430015 | 00003556430010 | 00003556430014 | 00003556430016 | 00003556430019 | 00003556420001 | 00003556420002 | 00003556420003 | 00003556420004 | 00003556420005 | 00003556420006 | 00003556420007 | 00003556420008 | 00003556420009 | 00003556420010 | 00003556420011 | 00003556420014 | 00003556420015 | 00003556440001 | 00003556440002 | 00003556440006 | 00003556440007 | 00003556440008 | 00003556440009 | 00003556440011 | 00003556440014 | 00003556440015 | 00003556440010 | 00003556450001 | 00003556450011 | 00003556450002 | 00003556450006 | 00003556450007 | 00003556450008 | 00003556450009 | 00003556450014 | 00003556450015 | 00003556450010 | 00003556450016 | 00003556450018 | 00003556450019 | 00004084520001 | 00004084520002 | 00004084520003 | 00004084520006 | 00004084590001 | 00004084590002 | 00004084590003 | 00004084590006 | 00004084540001 | 00004084540002 | 00004084540003 | 00004084540006 | 00004084570001 | 00004084570002 | 00004084570003 | 00004084570006
CODE_STATION | 325722 | 325722 | 325722 | 325722 | 325722 | 325722 | 325722 | 325722 | 325722 | 325722 | 325722 | 325722 | 325722 | 355643 | 355643 | 355643 | 355643 | 355643 | 355643 | 355643 | 355643 | 355643 | 355643 | 355643 | 355643 | 355643 | 355642 | 355642 | 355642 | 355642 | 355642 | 355642 | 355642 | 355642 | 355642 | 355642 | 355642 | 355642 | 355642 | 355644 | 355644 | 355644 | 355644 | 355644 | 355644 | 355644 | 355644 | 355644 | 355644 | 355645 | 355645 | 355645 | 355645 | 355645 | 355645 | 355645 | 355645 | 355645 | 355645 | 355645 | 355645 | 355645 | 408452 | 408452 | 408452 | 408452 | 408459 | 408459 | 408459 | 408459 | 408454 | 408454 | 408454 | 408454 | 408457 | 408457 | 408457 | 408457
ID | 17730169 | 17730169 | 17730169 | 17730169 | 17730169 | 17730169 | 17730169 | 17730169 | 17730169 | 17730169 | 17730169 | 17730169 | 17730169 | 17730163 | 17730163 | 17730163 | 17730163 | 17730163 | 17730163 | 17730163 | 17730163 | 17730163 | 17730163 | 17730163 | 17730163 | 17730163 | 17730051 | 17730051 | 17730051 | 17730051 | 17730051 | 17730051 | 17730051 | 17730051 | 17730051 | 17730051 | 17730051 | 17730051 | 17730051 | 17730151 | 17730151 | 17730151 | 17730151 | 17730151 | 17730151 | 17730151 | 17730151 | 17730151 | 17730151 | 17730037 | 17730037 | 17730037 | 17730037 | 17730037 | 17730037 | 17730037 | 17730037 | 17730037 | 17730139 | 17730139 | 17730139 | 17730139 | 17730157 | 17730157 | 17730157 | 17730157 | 17730145 | 17730145 | 17730145 | 17730145 | 17730151 | 17730151 | 17730151 | 17730151 | 17730152 | 17730152 | 17730152 | 17730152
TITLE | Kitheronas | Kitheronas | Kitheronas | Kitheronas | Kitheronas | Kitheronas | Kitheronas | Kitheronas | Kitheronas | Kitheronas | Kitheronas | Kitheronas | Kitheronas | L10-Thives | L10-Thives | L10-Thives | L10-Thives | L10-Thives | L10-Thives | L10-Thives | L10-Thives | L10-Thives | L10-Thives | L10-Thives | L10-Thives | L10-Thives | Kirfi | Kirfi | Kirfi | Kirfi | Kirfi | Kirfi | Kirfi | Kirfi | Kirfi | Kirfi | Kirfi | Kirfi | Kirfi | Elikonas | Elikonas | Elikonas | Elikonas | Elikonas | Elikonas | Elikonas | Elikonas | Elikonas | Elikonas | Gkiona | Gkiona | Gkiona | Gkiona | Gkiona | Gkiona | Gkiona | Gkiona | Gkiona | Gkiona | Gkiona | Gkiona | Gkiona | L8 | L8 | L8 | L8 | Katanti-Eke-Kirfi | Katanti-Eke-Kirfi | Katanti-Eke-Kirfi | Katanti-Eke-Kirfi | Saranti (breaking point) | Saranti (breaking point) | Saranti (breaking point) | Saranti (breaking point) | Meristis Dafnoulas | Meristis Dafnoulas | Meristis Dafnoulas | Meristis Dafnoulas
CITY | Kitheronas | Kitheronas | Kitheronas | Kitheronas | Kitheronas | Kitheronas | Kitheronas | Kitheronas | Kitheronas | Kitheronas | Kitheronas | Kitheronas | Kitheronas | Thives | Thives | Thives | Thives | Thives | Thives | Thives | Thives | Thives | Thives | Thives | Thives | Thives | Distomo | Distomo | Distomo | Distomo | Distomo | Distomo | Distomo | Distomo | Distomo | Distomo | Distomo | Distomo | Distomo | Elikonas | Elikonas | Elikonas | Elikonas | Elikonas | Elikonas | Elikonas | Elikonas | Elikonas | Elikonas | Amfissa | Amfissa | Amfissa | Amfissa | Amfissa | Amfissa | Amfissa | Amfissa | Amfissa | Amfissa | Amfissa | Amfissa | Amfissa | Leuktra | Leuktra | Leuktra | Leuktra | Distomo | Distomo | Distomo | Distomo | Saranti | Saranti | Saranti | Saranti | Dafnoula | Dafnoula | Dafnoula | Dafnoula
SENSOR_TITLE | Water level @ 2min | Water temperature | Average Velocity @ 2min | Average velocity @ 10min | Discharge @ 2min | Discharge @10min | Water level @ 10 min | Discharge calibration @ 2min | Discharge calibration @10min | Water temperature (HL4) | Specific Conductivity | Turbidity | Battery supply | Water level @ 2min | Water temperature | Average Velocity @ 2min | Average velocity @ 10min | Discharge @ 2min | Discharge @ 10min | Water level @ 10min | Discharge calibration @ 2min | DIscharge calibration @ 10min | Battery supply | Water temperature (HL4) | Specific Conductivity | Turbidity | Water level @ 2min | Water temperature | Velocity cell 1 | Velocity cell 2 | Velocity cell 3 | Average velocity @ 2min | Average velocity @ 10min | Discharge @ 2min | Discharge @ 10min | Battery supply | Water Level @ 10min | Discharge calibration @ 2min | Discharge calibration @ 10min | Water Level @ 2min | Water temperature | Average velocity @ 2min | Average velocity @ 10min | Discharge @ 2min | Discharge @ 10min | Water Level @ 10min | Discharge calibration @ 2min | Discharge calibration @ 10min | Battery supply | Water level @ 2min | Water level @ 10min | Water temperature | Average Velocity @ 2min | Average velocity @ 10min | Discharge @ 2min | Discharge @ 10min | Discharge calibration @ 2min | Discharge calibration @ 10min | Battery supply | Specific Conductivity | Water temperature (HL4) | Turbidity | Water temperature (HL4) | Specific Conductivity | Turbidity | Battery Supply | Water temperature (HL4) | Specific Conductivity | Turbidity | Battery Supply | Water temperature (HL4) | Specific Conductivity | Turbidity | Battery supply | Water temperature (HL4) | Specific Conductivity | Turbidity | Battery supply
INSTALLATION_TIME | 06/18/13 | 06/18/13 | 06/18/13 | 06/18/13 | 06/18/13 | 06/18/13 | 06/18/13 | 06/18/13 | 06/18/13 | 2016-11-02 | 2016-11-02 | 2016-11-02 | 2016-11-02 | 12/17/14 | 12/17/14 | 12/17/14 | 12/17/14 | 12/17/14 | 12/17/14 | 12/17/14 | 12/17/14 | 12/17/14 | 2016-12-16 | 2016-12-16 | 2016-12-16 | 2016-12-16 | 12/18/14 | 12/18/14 | 12/18/14 | 12/18/14 | 12/18/14 | 12/18/14 | 12/18/14 | 12/18/14 | 12/18/14 | 12/18/14 | 12/18/14 | 12/18/14 | 12/18/14 | 12/22/14 | 12/22/14 | 12/22/14 | 12/22/14 | 12/22/14 | 12/22/14 | 12/22/14 | 12/22/14 | 12/22/14 | 12/22/14 | 12/22/14 | 12/22/14 | 12/22/14 | 12/22/14 | 12/22/14 | 12/22/14 | 12/22/14 | 12/22/14 | 12/22/14 | 2016-12-21 | 2016-12-21 | 2016-12-21 | 2016-12-21 | 2016-11-11 | 2016-11-11 | 2016-11-11 | 2016-11-11 | 2016-12-09 | 2016-12-09 | 2016-12-09 | 2016-12-09 | 2016-10-21 | 2016-10-21 | 2016-10-21 | 2016-10-21 | 2016-03-11 | 2016-03-11 | 2016-03-11 | 2016-03-11
X | 452575.980 | 452575.980 | 452575.980 | 452575.980 | 452575.980 | 452575.980 | 452575.980 | 452575.980 | 452575.980 | 452575.980 | 452575.980 | 452575.980 | 452575.980 | 44259813.0000 | 44259813.0000 | 44259813.0000 | 44259813.0000 | 44259813.0000 | 44259813.0000 | 44259813.0000 | 44259813.0000 | 44259813.0000 | 442593.33 | 442593.33 | 442593.33 | 442593.33 | 38320643.0000 | 38320643.0000 | 38320643.0000 | 38320643.0000 | 38320643.0000 | 38320643.0000 | 38320643.0000 | 38320643.0000 | 38320643.0000 | 38320643.0000 | 38320643.0000 | 38320643.0000 | 38320643.0000 | 39593271.0000 | 39593271.0000 | 39593271.0000 | 39593271.0000 | 39593271.0000 | 39593271.0000 | 39593271.0000 | 39593271.0000 | 39593271.0000 | 39593271.0000 | 35685178.0000 | 35685178.0000 | 35685178.0000 | 35685178.0000 | 35685178.0000 | 35685178.0000 | 35685178.0000 | 35685178.0000 | 35685178.0000 | 356873.48 | 356873.48 | 356873.48 | 356873.48 | 429209.03 | 429209.03 | 429209.03 | 429209.03 | 381753.69 | 381753.69 | 381753.69 | 381753.69 | 401335.27 | 401335.27 | 401335.27 | 401335.27 | 452575.98 | 452575.98 | 452575.98 | 452575.98
Y | 4233704.600 | 4233704.600 | 4233704.600 | 4233704.600 | 4233704.600 | 4233704.600 | 4233704.600 | 4233704.600 | 4233704.600 | 4233704.600 | 4233704.600 | 4233704.600 | 4233704.600 | 44259813.0000 | 44259813.0000 | 44259813.0000 | 44259813.0000 | 44259813.0000 | 44259813.0000 | 44259813.0000 | 44259813.0000 | 44259813.0000 | 4233789.79 | 4233789.79 | 4233789.79 | 4233789.79 | 38320643.0000 | 38320643.0000 | 38320643.0000 | 38320643.0000 | 38320643.0000 | 38320643.0000 | 38320643.0000 | 38320643.0000 | 38320643.0000 | 38320643.0000 | 38320643.0000 | 38320643.0000 | 38320643.0000 | 39593271.0000 | 39593271.0000 | 39593271.0000 | 39593271.0000 | 39593271.0000 | 39593271.0000 | 39593271.0000 | 39593271.0000 | 39593271.0000 | 39593271.0000 | 35685178.0000 | 35685178.0000 | 35685178.0000 | 35685178.0000 | 35685178.0000 | 35685178.0000 | 35685178.0000 | 35685178.0000 | 35685178.0000 | 4267431.74 | 4267431.74 | 4267431.74 | 4267431.74 | 4234645.87 | 4234645.87 | 4234645.87 | 4234645.87 | 4252210.66 | 4252210.66 | 4252210.66 | 4252210.66 | 4235218.46 | 4235218.46 | 4235218.46 | 4235218.46 | 4233704.6 | 4233704.6 | 4233704.6 | 4233704.6
Position(km) | 145778 | 145778 | 145778 | 145778 | 145778 | 145778 | 145778 | 145778 | 145778 | 145778 | 145779 | 145780 | 145781 | 131265 | 131265 | 131265 | 131265 | 131265 | 131265 | 131265 | 131265 | 131265 | 131392 | 131392 | 131392 | 131392 | 49790 | 49790 | 49790 | 49790 | 49790 | 49790 | 49790 | 49790 | 49790 | 49790 | 49790 | 49790 | 49790 | 69487 | 69487 | 69487 | 69487 | 69487 | 69487 | 69487 | 69487 | 69487 | 69487 | 15730 | 15730 | 15730 | 15730 | 15730 | 15730 | 15730 | 15730 | 15730 | 15861 | 15861 | 15861 | 15861 | 113008 | 113008 | 113008 | 113008 | 47287 | 47287 | 47287 | 47287 | 76853 | 76853 | 76853 | 76853 | 145778 | 145778 | 145778 | 145778
SENSOR_BRAND | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | OTT | OTT | OTT | OTT | OTT | OTT | OTT | OTT | OTT | METRICA | METRICA | METRICA | METRICA | OTT | OTT | OTT | OTT | OTT | OTT | OTT | OTT | OTT | OTT | OTT | OTT | OTT | OTT | OTT | OTT | OTT | OTT | OTT | OTT | OTT | OTT | OTT | OTT | OTT | OTT | OTT | OTT | OTT | OTT | OTT | OTT | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica
SENSOR_MODEL | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | PLS/SLD/netDL988 | PLS/SLD/netDL989 | PLS/SLD/netDL990 | PLS/SLD/netDL991 | PLS/SLD/netDL992 | PLS/SLD/netDL993 | PLS/SLD/netDL994 | PLS/SLD/netDL995 | PLS/SLD/netDL996 | METRICA | METRICA | METRICA | METRICA | PLS/SLD/netDL979 | PLS/SLD/netDL979 | PLS/SLD/netDL979 | PLS/SLD/netDL980 | PLS/SLD/netDL981 | PLS/SLD/netDL982 | PLS/SLD/netDL983 | PLS/SLD/netDL984 | PLS/SLD/netDL985 | PLS/SLD/netDL986 | PLS/SLD/netDL987 | PLS/SLD/netDL988 | PLS/SLD/netDL989 | PLS/SLD/netDL990 | PLS/SLD/netDL991 | PLS/SLD/netDL992 | PLS/SLD/netDL993 | PLS/SLD/netDL994 | PLS/SLD/netDL995 | PLS/SLD/netDL996 | PLS/SLD/netDL997 | PLS/SLD/netDL998 | PLS/SLD/netDL999 | PLS/SLD/netDL1000 | PLS/SLD/netDL1000 | PLS/SLD/netDL1000 | PLS/SLD/netDL1000 | PLS/SLD/netDL1000 | PLS/SLD/netDL1000 | PLS/SLD/netDL1000 | PLS/SLD/netDL1000 | PLS/SLD/netDL1000 | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica | Metrica
SENSOR_TIMESTEP (min) | 2 | 2 | 2 | 10 | 2 | 10 | 10 | 2 | 10 | 5 | 5 | 5 | 720 | 2 | 2 | 2 | 10 | 2 | 10 | 10 | 2 | 10 | 720 | 5 | 5 | 5 | 2 | 2 | 2 | 2 | 2 | 2 | 10 | 2 | 10 | 720 | 10 | 2 | 10 | 2 | 2 | 2 | 10 | 2 | 10 | 10 | 2 | 10 | 720 | 2 | 10 | 2 | 2 | 10 | 2 | 10 | 2 | 10 | 720 | 5 | 5 | 5 | 5 | 5 | 5 | 720 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 720 | 5 | 5 | 5 | 720
Code_Unit | m | oC | m/s | m/s | m^3/s | m^3/s | m | m^3/s | m^3/s | oC | μS/cm | NTU | Volt | m | oC | m/s | m/s | m^3/s | m^3/s | m | m^3/s | m^3/s | Volt | oC | μS/cm | NTU | m | oC | m/s | m/s | m/s | m/s | m/s | m^3/s | m^3/s | Volt | m | m^3/s | m^3/s | m | oC | m/s | m/s | m^3/s | m^3/s | m | m^3/s | m^3/s | Volt | m | m | oC | m/s | m/s | m^3/s | m^3/s | m^3/s | m^3/s | Volt | μS/cm | oC | NTU | oC | μS/cm | NTU | Volt | oC | μS/cm | NTU | Volt | oC | μS/cm | NTU | Volt | oC | μS/cm | NTU | Volt
SCADA CONNECTION | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NO | NO | NO | NO | NO | NO | NO | NO | NO | NO | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | NO | NO | NO | NO | YES | YES | YES | YES | NO | NO | NO | NO | NA | NA | NA | NA
Conductivity Range (μS/cm) | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | 0-100 | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | 0-100 | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | 0-100 | Not applicable | Not applicable | Not applicable | 0-100 | Not applicable | Not applicable | Not applicable | 0-100 | Not applicable | Not applicable | Not applicable | 0-100 | Not applicable | Not applicable | Not applicable | 0-100 | Not applicable | Not applicable
Turbidity Range (NTU) | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | 0-3000 | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | 0-3000 | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | Not applicable | 0-3000 | Not applicable | Not applicable | 0-3000 | Not applicable | Not applicable | Not applicable | 0-3000 | Not applicable | Not applicable | Not applicable | 0-3000 | Not applicable | Not applicable | Not applicable | 0-3000 | Not applicable

## mornos_static_file
SENSOR_SYMBOL | 0ANAB7 | 0BNAB9 | 0BNABC | 0BNLBC | 0BPVRD | 0BPVRG | 0CNABC | 0CNLBC | 0CPVRD | 0CPVRG | 0ENABC | 0ENLBC | 0EPVRD | 0EPVRG | 0EQL10 | 0FNABC | 0FNLBC | 0FPVRD | 0FPVRG
CODE_STATION | 0ANAB7 | 0BNAB9 | 0BNABC | 0BNLBC | 0BPVRD | 0BPVRG | 0CNABC | 0CNLBC | 0CPVRD | 0CPVRG | 0ENABC | 0ENLBC | 0EPVRD | 0EPVRG | 0EQL10 | 0FNABC | 0FNLBC | 0FPVRD | 0FPVRG
ID | 17730169 | 17730169 | 17730169 | 17730169 | 17730169 | 17730169 | 17730169 | 17730169 | 17730169 | 17730169 | 17730169 | 17730169 | 17730169 | 17730169 | 17730169 | 17730169 | 17730169 | 17730169 | 17730169
TITLE | Downstream L7 | Upstream L9 | Upstream L8 | Downstream L8 | Sluice Gate L8 Right | Sluice Gate L8 Left | Upstream L9A | Downstream L9A | Sluice Gate L9A Right | Sluice Gate L9A Left | Upstream L10 | Downstream L10 | Sluice Gate L10 Right | Sluice Gate L10 Left | L10 | Upstream L11 | Downstream L11 | Sluice Gate L11 Right | Sluice Gate L11 Left
CITY | Athens | Athens | Athens | Athens | Athens | Athens | Athens | Athens | Athens | Athens | Athens | Athens | Athens | Athens | Athens | Athens | Athens | Athens | Athens
SENSOR_TITLE | Water level | Water level | Water level | Water level | Gate Opening | Gate Opening | Water level | Water level | Gate Opening | Gate Opening | Water level | Water level | Gate Opening | Gate Opening | Discharge | Water level | Water level | Gate Opening | Gate Opening
INSTALLATION_TIME | 2016-06-28 | 2016-06-28 | 2016-06-28 | 2016-06-28 | 2016-06-28 | 2016-06-28 | 2016-06-28 | 2016-06-28 | 2016-06-28 | 2016-06-28 | 2016-06-28 | 2016-06-28 | 2016-06-28 | 2016-06-28 | 2016-06-28 | 2016-06-28 | 2016-06-28 | 2016-06-28 | 2016-06-28
X | 429209.030 | 429209.030 | 429209.030 | 429279.740 | 429279.740 | 429279.740 | 429279.740 | 429279.740 | 429279.740 | 429279.740 | 429279.740 | 429279.740 | 429279.740 | 429279.740 | 429279.740 | 429279.740 | 429279.740 | 429279.740 | 429279.740
Y | 4234645.870 | 4234645.870 | 4234645.870 | 4234619.050 | 4234619.050 | 4234619.050 | 4234619.050 | 4234619.050 | 4234619.050 | 4234619.050 | 4234619.050 | 4234619.050 | 4234619.050 | 4234619.050 | 4234619.050 | 4234619.050 | 4234619.050 | 4234619.050 | 4234619.050
Position (km) | 113006 | 113007 | 113008 | 113010 | 113011 | 113012 | 113013 | 113014 | 113015 | 113016 | 113017 | 113018 | 113019 | 113020 | 113021 | 113022 | 113023 | 113024 | 113025
SENSOR_BRAND | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
SENSOR_MODEL | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
SENSOR_TIMESTEP (min) | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Code_Unit | m | m | m | m | - | - | m | m | - | - | m | m | - | - | m^3/s | m | m | - | -

## Flags_interpretation
Value | Description
1 | Οκ
2 | Calculated value
4 | Local value
8 | Constant
256 | Not validated value
512 | Configuration fault
1024 | Out of range
65536 | Initial value
131072 | Device problem
262144 | Sensor problem
524288 | Connection problem
1048576 | Out of scan
16711680 | Other problem